The Quality Standard of Drinking Water

Color: 5 degree

Turbidity: 0.5NTU

Smell: Odorless

Impurity of eye could see: No

PH: 6.0-8.5

Hardness（CaCO3）:300mg/L

Fe: 0.20mg/L

Mn: 0.05mg/L

Cu: 1.0mg/L

Zn: 1.0 mg/L

Al: 0.20 mg/L

Volatile phenols (phenol meter) 0.002 mg / L

Anionic synthetic detergents: 0.20 mg / L

Sulfate: 100 mg / L

Chloride: 100 mg / L

Total Dissolved Solids: 500 mg / L

General chemical indicators

Oxygen consumption (CODMn, with O2 meter) 2.0 mg / L

Fluoride: 1.0 mg / L

Nitrate (as N): 10 mg / L

Arsenic: 0.01 mg / L

Selenium: 0.01 mg / L

Mercury: 0.001 mg / L

Cadmium: 0.003 mg / L

Chromium (VI): 0.05 mg / L

Lead: 0.01 mg / L

Silver (measured with silver activated carbon): 0.05 mg / L

Chloroform: 0.03 mg / L

CTC: 0.002 mg / L

Chlorite (ClO2 disinfection when measured using): 0.70 mg / L

Chlorate (when measured using ClO2 disinfection): 0.70 mg / L

Smelly salt (when measured using O3 disinfection): 0.01 mg / L

Toxicology index

Formaldehyde (when measured using sterilized O3): 0.90 mg / L

The total number of bacteria:  per 100mL not detected in water samples

Total coliforms:  per 100mL not detected in water samples

Fecal coliforms: 0.01 mg / L (tap water pipe network) *

Chlorine: 0.01 mg / L (tap water pipe network) *

Ozone (O3 disinfection when using measured): 0.01 mg / L (pipe network tap water) *

Bacteriological indicators

Chlorine dioxide (ClO2 disinfection when using measured): 0.01 mg / L (pipe network tap water) * or Chlorine

0.01 mg / L (pipe network tap water) *

Note: The table with "*" limits for the detection limit of the project, the measured concentration should not be less than the detection limit.

Add.: No.6, Lutian Rd, Yulu District, Changsha, China

Email:keensen.sally@hotmail.com

Tel. /Fax: 86-731-89972600

KeenSen Technology Co., Ltd.